Notification of Conditional Acceptance

of Water and Wastewater Infrastructure in Raleigh Water Merger Communities

(Garner, Knightdale, Rolesville, Wake Forest, Wendell, Zebulon)

| Project Name: | ROLESVILLE CROSING |
| --- | --- |
| Project Phase: | ROLESVILLE CROSING PHASE 1 |

Permit Number(s):	W 4081

S 5396

The City of Raleigh Water Department has completed field inspections and testing on the water and/or wastewater infrastructure associated with the development project/phase referenced above.  Installation meets Raleigh Water specifications, and the infrastructure is available for use.  This preliminary acceptance is conditional on a final review of digital as-built data, project records and other submitted documentation.  Formal notification of acceptance is pending and will be provided on successful completion of the conditional review.

| Inspector Name: |  | CHRIS HURT |
| --- | --- | --- |
| Date: | 03/13/2026 |  |

Comments:

ALL ARV NEED TO BE WORKING AND CHECKED BEFORE BUILDING

Notes on Project Phasing:  Acceptance occurs after water and sewer infrastructure in an approved phase is installed, inspected/tested and the required supporting documentation has been received.  Phases of construction must extend from and/or connect to existing (or concurrently accepted) infrastructure to be considered for acceptance.  Acceptance boundaries are defined by the limits identified in the Raleigh Water approved utility phasing plan(s). Acceptance of unapproved sub-phases and/or partially complete phases will not be considered.  Additional information can be found in the Raleigh Water Handbook at  www.raleighnc.gov.